## BOQ
KERALA CRICKET ASSOCIATION
Design, Supply, and Installation of Fencing Works at KCA Cricket Ground, Kasaragod
Tender Schedule
Sl No | Qty | Unit | Item Description | Rate (in Figures) | Unit | Rate (in Words) | Amount
1 |  |  |  |  | /
2 |  |  |  |  | /
3 |  |  |  |  | /
4 |  |  |  |  | /
5 |  |  |  |  | /
6 |  |  |  |  | /
Total
GST
Total (Incl of GST)
Rupees in Words:
Sign & Seal of Contractor
| Place : |  |  | Name & Address:
Date:

## General Specification sheet
KERALA CRICKET ASSOCIATION
Design, Supply, and Installation of Fencing Works at KCA Cricket Ground, Kasaragod
GENERAL APPROVED MAKE OF MATERIALS
Sl no | Item | Approved make
Civil Works
1 | Wall tiles | Kajaria/Cera/Somany
2 | Wall and ceiling painting | Jotun/Berger/Asian
3 | Floor tiling internal- to be fixed using 3mm spacer and joints to be filled using cementitious joint filler | Kajaria/Cera/Somany
4 | Floor tiling toilets | Kajaria/Cera/Somany
5 | Floor tiling external | Kajaria/Cera/Somany
6 | False ceiling channel | Trusteel/Gyproc
7 | Doors Wooden | Anjily/Teak
8 | Door/Window UPVC | Fenesta/Prominance/Simta
9 | Glass window | Saint gobain
10 | Fixed glass with glass door with upvc frame | Fenesta/Prominance/Simta
11 | Ventilators | Aluminum- Series 20
12 | Granite- Threshold and Countertop | Jet black /Galaxy
13 | Steel reinforcement | Tata steel/ Jindal/ JSW/Tulsyan
14 | Built up tubular sections- GI | Tata steel/Jindal/JSW
15 | Roofing sheet- Trufford sheet | Everest/Jindal/JSW
16 | Cement (OPC 53 Grade) | Ultratech/Ambuja/ACC/Sankar/JSW
17 | Granite stones | Jet black /Galaxy
18 | Epoxy Paint for Concrete Works | Jotun/Indigo/Asian/Equivalent
18 | Epoxy Paint for Metal Works | Jotun/Indigo/Asian/Equivalent
19 | PVC Pipes | Supreme/Finolex/Goodwill
20 | Paver -For Walkway | 60mm Thick, M-25 grade
21 | Paver -For Driveway | 80mm Thick, M-40 grade
22 | Geo-Textile Mat | GSM -740
Waterproofing
1 | Wet areas | Fosroc/MYK Lacticrete/Roff
2 | Roof area | Fosroc/MYK Lacticrete/Roff
3 | Substructure | Fosroc/MYK Lacticrete/Roff
Electrical Works
1 | Switch/socket/MCB/ELCB | Schnider/ABB/Legrand/Havells
2 | Wires | Polycab/Havels/RR/Bonton/V-Guard
3 | Conduits | Balco/Astral/Goodwill
4 | Lights | Philips/Havells/Samsung
Plumbing Works
1 | Sanitary items | Jaguar/Cera/Johnson/Kholer
2 | Pipes- UPVC/PVC/ASTM | Astral/Goodwill/ Balco/Finolex
3 | CP fittings | Jaguar/Cera/Johnson/Kholer
Note: Selection of materials including CP/Sanitary/Switches/ Lights/Pavers are subject to approval from the KCA officials